Comments for Proposed Water Metrics Changes

- Table 1A & 1B: remove coliforms as an indicator (the CA TC already identified that coliforms is too broad to be an effective indicator)

  - 1B: there is no data to suggest Regulated Tertiary Treated water is higher risk, remove the proposed 6 sample requirement

  - Remove the proposed, monthly test requirement for Type A systems. A risk assessment should trigger such a requirement

- 6.3: remove this newly proposed section; there is no risk assessment component, nor data to support it.

- Table 2B: remove the proposed changes, no risk assessment component, nor data to support it.

- Figure 2A: keep it unchanged

- Table 2B(2): remove the proposed changes, no risk assessment component, nor data to support it.

  - C2: keep existing process for Initial Assessment, so as not to overrule with a monthly testing opinion

  - B2: Remove proposed changes, should state: "test at least once during the season".

- Table 2C(C1): historical data should not be discounted - remove proposed changes. Coliforms are not a suitable indicator for irrigation well water.

  - C2: do not discard

  - C3: monthly testing should not be proposed without a risk assessment component

- Table 2D(D4): For UV, the flow rate, turbidity, and exposure time need to be documented.